## Metadata
QBiC Sample Id* | Sample Name | Measurement Name | Cycle/Fraction Name | Sample Mass (mg) | Sample Volume (decimal) | Enrichment method* | MHC Antibody* | MHC Typing Method | Facility* | MS Run Date | Organisation URL* | Prep Date | Data Acquisition* | Instrument* | LC Column* | LCMS Method* | Charge range* | Ion mobility range (1/k0) | Mass range (m/z)* | Retention time range (min)* | Comment

## Property information
Property | Position | Provision | Category | Allowed values | Description
QBiC Sample Id* | 1 | mandatory | Sample Identity | QBiC sample ids | Each measurement need to be linked to at least on analyte sample.
Sample Name | 2 | optional | Sample Identity | free text | Coprocessing Identifier. This is just a visual aid simplify sample navigation for the person managing the metadata. You can e.g. download the sample metadata and copy the sample ID + label column in here. This column gets ignored during measurement registration
Measurement Name | 3 | optional | Measurement Identity | free text | Internal Identifier used by the partner facility to enable them to track their measurement
Cycle/Fraction Name | 4 | optional | Sample Properties | Free text, e.g. Fraction01, AB | Sometimes a sample is fractionated and all fractions are measured. With this property you can indicate which fraction it is.
Sample Mass (mg)* | 5 | mandatory | Sample Properties | decimal | Mass that was harvested from the biological probe (mg)
Sample Volume (decimal)* | 6 | mandatory | Sample Properties | decimal | Volume after enrichment that was injected into the mass spectrometer (microliter)
Prep Date | 7 | optional | Sample Provenance | YYYY-MM-DD (ISO 8601) | Includes the date of the sample preparation (YYYYMMDD)
Enrichment method* | 8 | mandatory | Analyte Properties | free text | Method to enrich HLA peptides in sample volume ( e.g. immunoaffinity purification, immunoaffinity purification (iodoacetamide), mild acid elution, detergent lysis )
MHC Antibody* | 9 | mandatory | Analyte Properties | free text | The MHC Antibody that was used for the measurement
MHC Typing Method | 10 | optional | Analyte Properties | free text | Method used to obtain the donors HLA typing (e.g. DNA seq-based with Optitype, RNA-seq-based with HLA-LA, Immunopeptidomics-based with immunotype)
Facility* | 11 | mandatory | Organisational Provenance | free text | Ideally the facilites name within the organisation (groupname, etc.)
Organisation URL* | 12 | mandatory | Organisational Provenance | URL | For good provenance tracking and enabling FAIR, we need a persistent and unique identifier of the organisation the measurement has been conducted at. We expect a full ROR id as URL (e.g. https://ror.org/03a1kwz48)
MS Run Date | 13 | optional | Measurement Provenance | YYYY-MM-DD (ISO 8601) | Includes the date of the sample measurement on the MS (YYYYMMDD)
Data Acquisition* | 14 | mandatory | Instrument | Free text | Mass spectrometer acquisition mode (e.g. DDA, DIA, PRM etc.)
Instrument* | 15 | mandatory | Instrument | CURIE (ontology) | The instrument model that has been used for the measurement, which needs to be an ontology CURIE that will be resolved to an existing persistent ID. You can use the ontology search in the data manager to get the CURIE for an instrument model.
LCMS Method* | 16 | mandatory | Instrument | free text | Laboratory specific methods that have been used for LCMS measurements (e.g., CIDOT, HCDOT, MSV035..).
LC Column* | 17 | mandatory | Instrument | Free text, can be a commercial name or brand | The type of column that has been used.
Charge range* | 18 | mandatory | Run Parameters | free text | Charge window where the mass spectrometer method was designed to analyze precursors. Units are either m/z or Dalton
Ion mobility range (1/k0) | 19 | optional | Run Parameters | free text | Ion mobility window where the mass spectrometer method was designed to analyze precursors. Units are 1/k0 or CCS.
Mass range (m/z)* | 20 | mandatory | Run Parameters | free text | Mass window where the mass spectrometer method was designed to analyze precursors. Units are either m/z or Dalton
Retention time range (min)* | 21 | mandatory | Run Parameters | integer | Time of chromatogram gradient (min)
Comment | 22 | optional | Notes | free text | Any other comments that can be noted (issue at the machines, during isolation or if the sample is excluded from the rest of the analysis)